## Faucets
Newport Brass & Ginger Cartridge Reference Guide
Newport Brass - Widespread Lavatory
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe
850 | 1000 | 1600 | 2440 | 1-001 | 1-601 | 1-002 | 1-600 | 1-027
850C | 1020 | 1620 | 2450
880 | 1030 | 1640 | 2460
880C | 1090 | 1660 | 2470
890 | 1200 | 1740 | 2590
910 | 1200C | 1760 | 2920
910C | 1220 | 1770 | 2950
920 | 1220C | 2020 | 2960
920C | 1230 | 2030 | 7000
930 | 1230C | 2400 | 7200
930L | 1400 | 2410 | 7300
980 | 1400L | 2420 | 8000
990 | 1500 | 2430 | 8200
990L | 1600 | 2440
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | *Notes
2040 | 2900 | 2990 | 3140 | 1-001 | *1-601 | 1-002 | *1-600 | *1-226 | * Valve mounting hardware is required if replacing the valve body
2060 | 2910 | 3100 | 3150
2560 | 2970 | 3110
2570 | 2980 | 3120
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | *Notes
8100 |  | FE-8800 |  | 1-001 | *1-601 | 1-002 | *1-600 | *1-328 | * Valve mounting hardware is required if replacing the valve body
10382
91004
91473
8300 |  | FE-8700 |  | 1-001 | *1-601 | 1-002 | *1-600 | *1-329
10382
91004
91473
Newport Brass - Widespread Lavatory - 20 Point stems |  |  |  |  | ***If Shipped Prior to 02/2018***
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
2480 |  |  |  | 1-141 | 1-569 | 1-142 | 1-568 | 1-226 | See list below if faucet was shipped after 02/2018
2490
2540/A
2550 | [7 empty] | 1-027
2520 |  |  |  | 1-005 | 1-557 | 1-006 | 1-558 | 1-253
2530
***If Shipped After 02/2018***
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | *Notes
2480 |  |  |  | 1-001 | *1-601 | 1-002 | *1-600 | *1-226 | *Valve mounting hardware is required if replacing the valve body **See list above if faucet was shipped prior to 02/2018
2490
2540/A
2550
2520 |  |  |  | 1-001 | *1-601 | 1-002 | *1-600 | *91473 *91004
2530 | [7 empty] | *10382 *12817
Newport Brass - Discontinued Wide Spread Faucets
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
800 | 853 | 1050 | 2010 | 1-001 | 1-601 | 1-002 | 1-600 | 1-027 | Discontinued Product
800C | 860 | 1050F | 2100
810 | 870 | 1060 | 2200
820 | 900 | 1060F | 2300
830 | 950 | 1070
840 | 960 | 1080
841 | 970 | 1100
Newport Brass - Discontinued Widespread Lavatory Long Stem
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
1040 |  |  |  | 1-091 | 1-611 | 1-092 | 1-610 | 1-027 | Discontinued Product
1680
1690
1700
1720
Newport Brass - Wall Mounted Lavatory
Series/Collection |  |  |  | Valve | Cold Cartridge | Hot Cartridge | Retention Nut Assembly | All Thread Nipple | 3" Extension | 20-16 pt Adapters
3-851 | 3-1031 | 3-2101 | 3-2551 | 1-532U | 1-452 | 1-453 | 1-455 | 10631 = All Thread for current and older 1-544 / 1-543 cartridges - 10489 = All Thread for older 1-510 / 1-511 cartridges | 1-384 | 12790 = Adapter 92850 = Screw for Adapter
3-911 | 3-1201 | 3-2401 | 3-2561
3-921 | 3-1221 | 3-2411 | 3-2921
3-9301 | 3-1231 | 3-2441 | 3-2991
3-9301L | 3-1501 | 3-2461 | 3-3031
3-944 | 3-1681 | 3-2471 | 3-3101
3-944L | 3-1761 | 3-2481 | 3-3121
3-947 | 3-1771 | 3-2491 | 7301
3-991 | 3-2031 | 3-2521
3-991L | 3-2041 | 3-2531
3-1003 | 3-2061 | 3-2541
Newport Brass - Lavatory Bridge - |  |  |  | *Tall Bonnet - Current Style*
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge | Handle Adapter & Screw | Mounting Nut
930B |  |  |  | 1-005 | 1-006 | 12062 = Adapter 92539 = Screw | 91473
1000B
1030B
1691 - Discontinued
Newport Brass - Lavatory Bridge - |  |  |  | *Short Bonnet - Old Style*
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge | Mounting Nut
930B |  |  |  | 1-001 | 1-002 | 91473
1000B
1030B
1691 - Discontinued
Newport Brass - Discontinued Center Set Lavatory
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge | Mounting Hdwe
801 |  |  |  | 1-005 | 1-006 | 91061 (x2)
7001
7001X |  |  |  | 1-001 | 1-002
Newport Brass - Single Hole Lavatory - Single Handle
Series/Collection |  |  |  | Cartridge
9203 |  |  |  | 1-588
1503 |  |  |  | 1-100
2043 |  |  |  | 1-298
8203 |  | FE-8703 |  | 1-434
8233 |  |  |  | 1-435
2403 | 2433 | 2493 |  | 1-242
2413 | 2174
1203 | 1233 | 1623 |  | 1-259
1203-1 | 1233-1 | *2563
Newport Brass - Single Hole Lavatory - Two Handle
Series/Collection |  |  |  | Cold Cartridge | Hot Cartridge
932 |  |  |  | 1-001 | 1-002
Newport Brass - Prep/Bar Faucets
Single Handle |  |  |  | Cartridge
9208 |  |  |  | 1-588
1508 |  |  |  | 1-100
2007 |  |  |  | 1-064
2008 |  |  |  | 1-064
2470-5203 |  |  |  | 1-064
Two-Handle Faucet |  |  |  | Cold Cartridge | Hot Cartridge
928 |  | 938 |  | 1-001 | 1-002
Two-Handle Faucet*** |  |  |  | Cold Cartridge | Hot Cartridge | Adapter & Screw | ***If Faucet is Older Than 8/2017 |  | *1608/1628 Faucets Only Pre 8/2017
1008 | 1628* | 8081 | 9281 | 1-141 | 1-142 | 12062 = Adapter | ***1-001 = Cold Cartridge | ***1-002 = Hot Cartridge | *1-382 = Cold Cartridge for old style 1608/1628 only | *1-383 = Hot Cartridge for 1608/1628 old style only
1038 | 1648 | 8881 | 9881
1208 | 1668 | 8901 |  |  |  | 92539 = Adapter Screw
1608* | 1688 | 9081
Center Set Faucet |  |  |  | Cold Cartridge | Hot Cartridge
808 - Discontinued |  |  |  | 1-005 | 1-006
7008 - Discontinued
7008X - Discontinued |  |  |  | 1-001 | 1-002
Newport Brass - Kitchen Faucets
Single Hole Kitchen Faucets |  |  |  | Cartridge | O-rings | Diverter
940 |  |  |  | 1-064 | 91031 (x2) | n/a
941 |  |  |  | 1-064 | 91031 (x2) | AB11208 after 9/05 - 10323 before 9/05
9401 |  |  |  | 1-064 | n/a | n/a
2470-5303
2470-5313 |  |  |  | 1-064 | n/a | AB11208
Pull-Down Kitchen Faucets |  |  |  | Cartridge | Pull Out Hose | Weight for Hose |  | Pull Down Prep Faucets |  | Cartridge
1030-5103 |  | 2500-5103 |  | 1-064 | AB11877 | 1-286 |  | 1030-5223 | 2500-5203 | 1-064
1200-5103 |  | 2500-5113 | [5 empty] | 1200-5223 | 2500-5223
1500-5103 |  | 2500-5123 | [5 empty] | 1500-5203 | 2510-5203
1500-5113 |  | 2510-5103 | [5 empty] | 1500-5223 | 2940-5223
2470-5103 |  | 2940-5103 | [5 empty] | 2470-5223 | 3160-5203
3160-5103 |  | 3170-5103 | [5 empty] | 3170-5203 | 3180-5223
3180-5113 |  | 3190-5113 | [5 empty] | 3190-5223 | 3200-5223
3200-5113 |  | 3210-5103 | [5 empty] | 3210-5203 | 3290-5223
3290-5113
1500-5123 |  | 2940-5123 |  | 1-371
1400-5113 |  |  |  | 1-064 | AB11877A | 1-286A
1500-5143 |  |  |  | 1-371
8200-5103 |  | 8200-5113 |  | 1-434 | Ask CS Lead
94P - Discontinued |  |  |  | 1-183 | 91404-1 | n/a
99P - Discontinued
Widespread Kitchen Faucets |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Diverter Tee Asm prior to 10/8/2018 | Diverter Tee Asm after 10/8/2018
2470-5422 |  | 2470-5423 |  | 1-001 | 1-601 | 1-002 | 1-600 | n/a | n/a
942 |  | 9901
9901L
2470-5432 |  | 2470-5433 |  | 1-001 | 1-601 | 1-002 | 1-600 | 1-536 | AB11208
943 |  | 946
973 |  | 9911
9911L
Kitchen Bridge Faucets *Tall Bonnet - Current Style* |  |  |  | Cold Cartridge | Cold Block | Hot Cartridge | Hot Block | Stem Extension | Upper Seat Assembly | Diverter Cartridge | Handle Adapter & Screw
945 |  | 9451 |  | 1-005 | n/a | 1-006 | n/a | n/a | n/a | n/a | 12062 = Adapter 92539 = Screw
9455 |  | 9457
9461 |  | 9463
9464
945-1 |  | 9458 |  | 1-005 | 1-555 | 1-006 | 1-556 | 1-153 | 1-152 | AB11208 | 12062 = Adapter 92539 = Screw
9456 |  | 9462
9451-1 |  | 9459 |  | 1-005 | 1-555 | 1-006 | 1-556 | 1-151 | 1-152 | AB11208 | 12062 = Adapter 92539 = Screw
9452-1 |  | 9460
9453-1
1400-5402 |  | 1400-5403 |  | 1-005 | n/a | 1-006 | n/a | n/a | n/a | n/a | 12975 = Adapter 92035 = Screw
1500-5402 |  | 1500-5403
1400-5412 |  | 1400-5413 |  | 1-005 | 1-747 | 1-006 | 1-748 | 1-395 | n/a | AB11208
1500-5412 |  | 1500-5413
3220-5403 |  |  |  | 1-437 | n/a | 1-436 | n/a | n/a | n/a | n/a | 12750 = Adapter 92539 = Screw
3220-5413 |  |  |  |  | 1-763 |  |  |  |  | AB11208
Kitchen Bridge Faucets *Short Bonnet - Old Style* |  |  |  | Cold Cartridge | Cold Block | Hot Cartridge | Hot Block | Stem Extension | Upper Seat Assembly | Diverter Cartridge | Handle Adapter & Screw
945 |  | 9461 |  | 1-001 | n/a | 1-002 | n/a | n/a | n/a | n/a | 12062 = Adapter 92539 = Screw
9451
945-1 |  | 9462 |  | 1-005 | 1-555 | 1-006 | 1-556 | 1-153-1 | 1-152 | AB11208 | 12062 = Adapter 92539 = Screw
9451-1 |  | 9452-1 |  | 1-005 | 1-555 | 1-006 | 1-556 | 1-151-1 | 1-152 | AB11208 | 12062 = Adapter 92539 = Screw
9453-1
Pot Fillers |  |  |  | Cartridge | Spout Tip Cartridge | Base Handle Adapter & Screw | Spout Tip Handle Adapter & Screw
948 - Discontinued |  |  |  | 1-002 | n/a | n/a | n/a
949 - Discontinued
9483 - Discontinued |  |  |  | 1-002 | 1-134
9484 - Discontinued
9486 - Discontinued |  |  |  | 1-006 | 1-134 | n/a | n/a
9481 |  |  |  | 1-002 | 1-134 | n/a | n/a
9485 |  |  |  | 1-326 | 1-134 | 12070 = Adapter 92035 = Screw | 12070 = Adapter 92035 = Screw
1030-5503 |  |  |  | 1-326 | 1-134 | 11835 = Adapter 92487 = Screw | 11834 = Adapter 92477 = Screw
1200-5503 |  |  |  | 1-326 | 1-134 | 12071 = Adapter 92809 = Screw | 12070 = Adapter 92014 = Screw
2470-5503 |  |  |  | 1-326 | 1-134 | 11835 = Adapter 92487 = Screw | 11834 = Adapter 92477 = Screw
2500-5503 |  |  |  | 1-326 | 1-134 | 11793 = Adapter 92490 = Screw | 11793 = Adapter 92490 = Screw
2940-5503 |  |  |  | 1-326 | 1-134 | 11834 = Adapter 92477 = Screw | 11834 = Adapter 92477 = Screw
3160-5503 |  | 3170-5503 |  | 1-326 | 1-134 | 12750 = Adapter 92862 = Screw | 12750 = Adapter 92862 = Screw
3190-5503
3180-5503 |  | 3200-5503 |  | 1-326 | 1-134 | 12750 = Adapter 92477 = Screw | 12750 = Adapter 92477 = Screw
3210-5503 |  | 9482
3290-5503 |  |  |  | 1-326 | 1-437 | 12750 = Adapter 92477 = Screw | 12750 = Adapter 92477 = Screw
3220-5503 |  |  |  | 1-325 | 1-436 | 12070 = Adapter 92426 = Screw | 12070 = Adapter 92426 = Screw
Water Dispensers |  |  |  | Cold Cartridge Prior to 2017 | Cold Cartridge After 2017 | Hot Cartridge Prior to 2017 | Hot Cartridge After 2017 | Spout O-rings
104B/105B - Discontinued |  |  |  | n/a | n/a | n/a | n/a | 91099 (x2)
106 | 106C | 106H |  | 1-699 |  | 1-680 | 1-710 | 91017 (x2) 91382
107 | 107C | 107H
108 | 108C | 108H
1030-5603 |  | 1030-5613 |  | 1-699 |  | 1-710
1030-5623 |  | 2940-5603
1030-5623 |  | 2940-5613
2940-5623 |  | 3160-5603
3160-5613 |  | 3160-5623
3170-5603 |  | 3170-5613
3170-5623 |  | 3180-5603
3180-5613 |  | 3180-5623
3190-5603 |  | 3190-5613
3190-5623 |  | 3200-5603
3200-5613 |  | 3200-5623
3210-5603 |  | 3210-5613
3210-5623 |  | 3220-5603
3220-5613 |  | 3220-5623
3290-5603 |  | 3290-5613
3290-5623
2470-5603 |  | 2470-5613 |  | 1-699 |  | 1-682 | 1-710
2470-5623
1200-5603 |  | 1200-5613 |  | 1-700 |  | 1-681 |  | 91017 (x2)
1200-5623 | [7 empty] | 91382
2500-5613 |  | 2500-5623 | [5 empty] | 91018
Ginger Water Delivery - Discontinued
Ginger Water Delivery - Widespread Lavatory
Series/Collection |  |  |  | Cold Cartridge | Cold Valve Body with Cartridge | Hot Cartridge | Hot Valve Body with Cartridge | Valve Mtg Hdwe | Notes
G45-001 |  |  |  | 1-141 | 1-569 | 1-142 | 1-568 | 1-027 | Discontinued Product
G45-101 | [7 empty] | 1-252
G28-101
G28-111
G27-001 |  |  |  | 1-005 | 1-557 | 1-006 | 1-558 | 1-253
G27-101
Ginger Water Delivery - Wall Mounted Lavatory
Series/Collection |  |  |  | Valve | Cold Cartridge | Hot Cartridge | All Thread Nipple | Notes
G45-121 |  |  |  | 1-560 | 1-510 | 1-511 | 10489 | Discontinued Product
G28-121
G27-011
G27-111
Ginger Water Delivery - Prep/Bar Faucets |  |  |  |  | Notes
Single Handle |  |  |  | Cartridge | Discontinued Product
G45-113 |  |  |  | 1-588

## Showers
Newport Brass & Ginger Cartridge Reference Guide
Balanced Pressure Shower & Tub Shower Valves
BP Valve Part # | Cartridge | Diverter Cartridge | Stem Kit - 16pt | Stem Kit - 20pt | Stem Plate | Stem Plate Screws | Limit Stop | Mechanical Stop | Valve Body Cover | 3" Stem Extension | 3/4" Diverter Extension
1-594 | 1-207 | N/A | 1-074 | 1-255 | 11459 | 92014 (x2) | 10493 | 10494 | 1-039-4 | 1-249 | N/A
1-595 |  | 1-043 | [8 empty] | 1-073
BP Valve Part # | Cartridge | Diverter Cartridge | Stem Kit - 16pt | Stem Kit - 20pt | Stem Plate w/Screws | Integral Stop | Limit Stop | Valve Body Cover | 3" Stem Extension | 3/4" Diverter Extension
1-684 | 1-280 | n/a | 1-074 | 1-255 | 1-283 | 1-278 | 12105 | 1-281 | 1-249 | 1-073
1-685 |  | 1-279
Old Style BP Valve Part # Before 5/09 | Cartridge | Filters | Diverter Cartridge | Stem Kit - 16pt | Stem Kit - 20pt | Stem Plate | Stem Plate Screws | Limit Stop | Mechanical Stop | Valve Body Cover
1-504 | 1-028 | 1-068 | N/A | 1-074 | 1-255 | 10466 | 92014 (x2) | 10493 | 10494 | 1-039-4
1-505 |  |  | 1-043
Important Note: | If the BP valve is from prior to 2002 verify if the stem the handle attachs to is attached to the main cartridge with a
screw through the center. If the stem is attached to the cartridge with a screw then a new stem kit is required as well as a
new cartridge.
Thermostatic Valve
3/4" Thermostatic Valve After 09/02 - (Current) | Cartridge | Check Stops | Extension
1-540 | 1-102 | 1-103 | 2-260/(finish)
3/4" Thermo Valve Before 09/02 - (Old Style) | Cartridge | Check Stops
1-540 | 1-088 | 1-089
1/2"Thermostatic Valve | Thermo Cartridge | Check Stops | Diverter/Volume Control Cartridge | Diverter/Volume Control Stem Adapter | Diverter Nut Asm | Extension
1-741 | 1-338 | 1-103 | 1-366 | 1-367 | n/a | 20-146/(finish)
1-742 | 1-338 | 1-103 | 1-342 | 1-343 | 1-353 | 20-146/(finish)
1-743 | 1-338 | 1-103 | 1-336 | 1-343 | 1-354 | 20-146/(finish)
1-744 | 1-338 | 1-103 | 1-364 | 1-343 | 1-354 | 20-146/(finish)
1-745 | 1-338 | 1-103 | 1-417 | 1-343 | 1-416 | 20-146/(finish)
Stop Valves
Valve | Cartridge | Retention Nut Assembly | All Thread Nipple | 3" Extension | 20-16 pt Adapters
1-606U | 1-453 | 1-455 | 10631 | 12790 = adapter 92850 = adapter screw | 1-384
1-607U | 1-454
1-606C / 1-606CT - Discontinued | 1-452 | n/a | 10489
1-606H / 1-606HT Discontinued | 1-453
1-607C / 1-607CT - Discontinued | 1-454 |  | 10489
1-607H / 1-607HT Discontinued | 1-454
1-563 - Discontinued | 1-442 |  | 10489 | n/a | n/a
1-679 - Discontinued | 1-440
Diverter Valves
Valve | Cartridge | Stem Kit | Two-way Washer | Three-way Washer | 20 - 16 pt adapters | 3" Extension
1-617 | 1-189 | 11345 = stem 91099 = o-ring for stem 10631 = all-thread | 91439 | 91440 | 12790 = adapter 92850 = adapter screw | 1-384
1-701 | 1-355 |  | n/a | n/a
1-702 | 1-356
1-703 | 1-357
1-618 - Discontinued | 1-189 |  | 91439 | 91440 | n/a | n/a
1-608 - Discontinued | 1-072 | 1-071 | n/a | n/a | n/a | n/a
1-605 - Discontinued | n/a | 1-071 | n/a | n/a | n/a | n/a
Two/Three Handle Tub/Shower Valves
Valve | Cold Cartridge | Hot Cartridge | Retention Nut Assembly | All Thread Nipple | 3" Extension | 20-16 pt Adapters | Diverter Stem Kit
1-500U | 1-452 | 1-453 | 1-455 | 10631 | 1-384 | 12790 = adapter 92850 = adapter screw | n/a
1-500 / 1-500T - Discontinued |  |  |  | 10489
1-501 - Discontinued |  |  |  | 10489 |  | 1-072 | 1-071
1-564 - Discontinued |  |  |  | 10489 |  | n/a | n/a
Important Note: | Verify the age of the valve if cartridge replacement is needed for the 1-500 and 1-501. If the valve is from prior to 2000 the above listed cartridges may not be correct as there are discontinued cartridges that are no longer available. A Picture of the actual cartridge itself is the only way to identify the correct replacement part.

## RT & Bidets
Newport Brass & Ginger Cartridge Reference Guide
Newport Roman Tub Sets
R/T Trim Kit # |  |  |  | Valve Kit | Cold Valve | Cold Cartridge | Hot Valve | Hot Cartridge | H/C Mtg Hdwe | Div Valve | Div Cart | Quick Connect | QC Spacer | QC Extension
3-916 | 3-926 | 3-2406 | 3-2416 | 1-502 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | n/a | n/a | 1-016 | n/a | 1-035
3-936 | 3-1036 | 3-2026 | 3-996
3-996L | 3-1506 | 3-1406 | 3-1406L
3-1006 | 3-2466 | 3-2476 | 3-1206
3-1226 | 3-1236 | 3-2929 | 3-2446
3-2456 | 3-2956
3-917 | 3-927 | 3-2407 | 3-2417 | 1-503 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
3-937 | 3-1037 | 3-2027 | 3-997
3-997L | 3-1507 | 3-1407 | 3-1407L
3-1007 | 3-2467 | 3-2477 | 3-1207
3-1227 | 3-1237 | 3-2927 | 3-2447
3-2457 | 3-2957
3-1096 | 3-896 | 3-1026 | 3-886 | 1-506 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | n/a | n/a | 1-016 | 10382 | 1-035
3-1646 | 3-1666 | 3-1746 | 3-1606
3-1626 | 3-2596 | 3-856C | 7206
3-1097 | 3-897 | 3-1027 | 3-887 | 1-507 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | 10382 | 1-035
3-1647 | 3-1667 | 3-1747 | 3-1607
3-1627 | 3-2597 | 3-857C
3-1046 |  |  |  | 1-522 | 1-613 | 1-093 | 1-612 | 1-094 | 10529 | n/a | n/a | 1-016 | n/a | 1-035
3-1047 |  |  |  | 1-523 | 1-613 | 1-093 | 1-612 | 1-094 | 10529 | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
7306 |  |  |  | 1-533 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | n/a | n/a | 1-035 | n/a | n/a
3-1686 |  |  |  | 1-547 | 1-615 | 1-093 | 1-616 | 1-094 | 10529 | n/a | n/a | 1-016 | n/a | 1-035
3-1687 |  |  |  | 1-548 | 1-615 | 1-093 | 1-616 | 1-094 | 10529 | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
3-2557 |  |  |  | 1-570 | 1-553 If prior to 2018 valve is 1-581 | 1-003 If prior to 2018 cart is 1-143 | 1-552 If prior to 2018 valve is 1-580 | 1-004 If prior to 2018 cart is 1-144 | 12280 = Upper 10529 = Lower | 1-631 | n/a | n/a | n/a | n/a
3-1766 |  | 3-1776 |  | 1-586 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | n/a | n/a | 1-163 | n/a | 1-035
3-1767 |  | 3-1777 |  | 1-587 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-163 | n/a | 1-035
R/T Trim Kit # |  |  |  | Valve Kit | Cold Valve | Cold Cartridge | Hot Valve | Hot Cartridge | H/C Mtg Hdwe | Div Valve | Div Cart | Quick Connect | QC Spacer | QC Extension
3-8307 |  |  |  | 1-658 | 1-553 | 1-003 | 1-552 | 1-004 | 1-318 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-324 | n/a | n/a
3-8007 |  |  |  | 1-659 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-320 | n/a | n/a | n/a | n/a
3-8107 |  |  |  | 1-660 | 1-553 | 1-003 | 1-552 | 1-004 | 1-319 = Upper 10529 = Lower | 1-320 | n/a | n/a | n/a | n/a
3-8207 |  |  |  | 1-661 | 1-603 | 1-003 | 1-602 | 1-004 | 10529 | 1-320 | n/a | n/a | n/a | n/a
3-2556 |  |  |  | 1-636 | 1-553 If prior to 2018 valve is 1-581 | 1-003 If prior to 2018 cart is 1-143 | 1-552 If prior to 2018 valve is 1-580 | 1-004 If prior to 2018 cart is 1-144 | 12280 = Upper 10529 = Lower | n/a | n/a | 1-254 | n/a | 1-035
3-2976 | 3-2986 | 3-2576 | 3-3146 | 1-665 | 1-553 | 1-003 | 1-552 | 1-004 | 12280 = Upper 10529 = Lower | n/a | n/a | 1-016 | n/a | 1-035
3-3156 | 3-2546 | 3-2046 | 3-2066
3-2566 | 3-2996 | 3-2906 | 3-2916
3-2977 | 3-2987 | 3-2577 | 3-3147 | 1-666 | 1-553 | 1-003 | 1-552 | 1-004 | 12280 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
3-3157 | 3-2547 | 3-2047 | 3-2067
3-2567 | 3-2997 | 3-2907 | 3-2917
3-2496 | 3-3126 | 3-3106 | 3-2486 | 1-697 | 1-553 | 1-003 | 1-552 | 1-004 | 12280 = Upper 10529 = Lower | n/a | n/a | 1-230 | n/a | 1-035
3-2497 | 3-3127 | 3-3107 | 3-2487 | 1-698 | 1-553 | 1-003 | 1-552 | 1-004 | 12280 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-230 | n/a | 1-035
FE-8707 |  |  |  | 1-711 | 1-553 | 1-003 | 1-552 | 1-004 | 1-373 = Upper 10529 = Lower | 1-320 | n/a | n/a | n/a | n/a
FE-8807 |  |  |  | 1-712 | 1-553 | 1-003 | 1-552 | 1-004 | 1-374 = Upper 10529 = Lower | 1-385 | n/a | n/a | n/a | n/a
3-2526 |  | 3-2536 |  | 1-725 | 1-553 | 1-003 | 1-552 | 1-004 | 12818 = Upper 10529 = Lower | n/a | n/a | 1-016 | n/a | 1-035
3-2527 |  | 3-2537 |  | 1-726 | 1-553 | 1-003 | 1-552 | 1-004 | 12818 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
R/T Trim Kit # |  |  |  | Valve Kit | Cold Valve | Cold Cartridge | Hot Valve | Hot Cartridge | H/C Mtg Hdwe | Div Valve | Div Cart | Quick Connect | QC Spacer | QC Extension
Discontinued Valve Kits |  |  |  | 1-565 | 1-621 | 1-145 | 1-620 | 1-146 | 11939 = Upper 10529 = Lower | n/a | n/a | 1-016 | n/a | 1-035
|  |  |  | 1-566 | 1-621 | 1-145 | 1-620 | 1-146 | 11939 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
|  |  |  | 1-571 | 1-623 | 1-143 | 1-624 | 1-144 | 12280 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-016 | n/a | 1-035
|  |  |  | 1-653 | 1-623 | 1-143 | 1-624 | 1-144 | 12280 = Upper 10529 = Lower | n/a | n/a | 1-016 | n/a | 1-035
|  |  |  | 1-677 | 1-581 | 1-143 | 1-580 | 1-144 | 12280 = Upper 10529 = Lower | n/a | n/a | 1-230 | n/a | 1-035
|  |  |  | 1-678 | 1-581 | 1-143 | 1-580 | 1-144 | 12280 = Upper 10529 = Lower | 1-714 | 1-376 If div is from 2006-2017 - Cart is 1-191 | 1-230 | n/a | 1-035
Newport Roman Tub Other
Exposed Tub & Hand Shower |  |  |  | Cold Cart | Hot Cart | Div Cart | Handle Adapter |  | Exposed Tub & Hand Shower | Cold Cart | Hot Cart
850-4273 | 920-4282 | 1020-4273 | 1600-4282 | 1-326 - cartridge marked as hot, goes in cold side | 1-325 - cartridge marked as cold, goes in hot side | 1-076 | 12062 = adapter 92539 = adapter screw |  | 933* | 1-001 | 1-002
850-4283 | 933* | 1020-4283 | 1620-4273 | [5 empty] | 934*
910-4273 | 934* | 1200-4273 | 1620-4283 | [5 empty] | 1013*
910-4283 | 1013* | 1200-4283 | 2590-4273 | [5 empty] | 1014*
920-4272 | 1014* | 1600-4272 | 2590-4283 | [5 empty] | Notes | If unit is older than 2017 use these cartridges
* If unit is older than 2017 - See Other Cartridge List -------->
1760-4272 | 1770-4273 | 2400-4272 | 2400-4273 | 1-326 - cartridge marked as hot, goes in cold side | 1-325 - cartridge marked as cold, goes in hot side | 1-076 | 12062 = adapter 92538 = adapter screw
1760-4282 | 1770-4283 | 2400-4282 | 2400-4283
Floor Mount Tub Filler |  | Cartridge | Diverter Cartridge
1400-4261 |  | 1-292 | 20-259
2040-4261
2480-4261
2560-4261
Ginger Roman Tub Sets - Discontinued
Valve Kit / RT Set |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Valve Mtg Hdwe | Div Valve | Div Cart | QC | QC Spacer | QC Ext
G27-006/G27-106 |  | 1-652 | 1-145 | 1-651 | 1-146 | 11939 - Upper 10529 - Lower | na | na | na | na | na
G27-007/G27-107 |  | 1-621 | 1-145 | 1-620 | 1-146 | 11939 - Upper 10529 - Lower | 1-622 | 1-191 | na | na | na
G28-106 |  | 1-623 | 1-143 | 1-624 | 1-144 | 12280 - Upper 10529 - Lower | na | na | na | na | na
G28-107 |  | 1-623 | 1-143 | 1-624 | 1-144 | 12280 - Upper 10529 - Lower | 1-622 | 1-191 | na | na | na
G45-006/G45-106 |  | 1-581 | 1-143 | 1-580 | 1-144 | 10529 (2 per valve) | na | na | 1-254 | na | 1-035
G45-007/G45-107 |  | 1-581 | 1-143 | 1-580 | 1-144 | 10529 (2 per valve) | na | 1-631 | na | na | na
Newport Bidet Sets
Bidet Set |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
859 | 1039 | 1649 | 2449 | 1-601 | 1-001 | 1-600 | 1-002 | 1-027 | 1-066 | 10605
889 | 1099 | 1669 | 2459
919 | 1209 | 1749 | 2599
929 | 1229 | 1769 | 2929
989 | 1239 | 1779
999 | 1509 | 2029
999L | 1609 | 2409
1009 | 1629 | 2419
Bidet Set |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert | *Notes
2049 | 2909 | 2989 | 3159 | *1-601 | 1-001 | *1-600 | 1-002 | 1-226 | 1-066 | 10605 | *If sending valve body, must send mtg hdwe
2069 | 2919 | 3109
2579 | 2979 | 3149
Bidet Set - ***If Shipped After 02/2018*** |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert | *Notes
2489 |  |  |  | *1-601 | 1-001 | *1-600 | 1-002 | 1-226 | 1-066 | 10605 | *If sending valve body, must send mtg hdwe
2529
2539
2549 |  |  |  | *1-601 | 1-001 | *1-600 | 1-002 | *91473 | 1-066 | 10605
*91004
2559 | [7 empty] | *10382
*12817
Bidet Set - 20 Point - ***If Shipped Prior to 02/2018*** |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
2489 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-252 | 1-066 | 10605
2529 |  |  |  | 1-557 | 1-005 | 1-558 | 1-006 | 1-253
2539
2549 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-252
2559 | [7 empty] | 1-027
Newport Brass - Discontinued Bidet Sets
Series/Collection |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
809 |  | 1059F |  | 1-601 | 1-001 | 1-600 | 1-002 | 1-027 | 1-066 | 10605
819 |  | 1069
829 |  | 1069F
879 |  | 1079
909 |  | 2109
959
1059
Newport Brass - Discontinued Bidet Long Stem Sets
Series/Collection |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert
1049 |  |  |  | 1-611 | 1-091 | 1-610 | 1-092 | 1-027 | 1-066 | 10605
1689
1709
1729
Ginger Bidet Sets - Discontinued
Bidet Set - 20 Point |  |  |  | Cold Valve | Cold Cart | Hot Valve | Hot Cart | H/C Mtg Hdwe | Diverter / Vaccum Breaker Cart | Aerator Insert | Notes
G27-008/G27-108 |  |  |  | 1-557 | 1-005 | 1-558 | 1-006 | 1-253 | 1-066 | 10605 | Discontinued
G28-108 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-252
G45-108 |  |  |  | 1-569 | 1-141 | 1-568 | 1-142 | 1-027